| Failure Investigation Report |  |  |  |
| --- | --- | --- | --- |
| Failure Description | Loss of water supply |  |  |
| Shaft | Nchwaning 3 Shaft |  |  |
| Areas Affected (Power Failure) | Laundry and change-houses |  |  |
| Equipment Number |  |  |  |
| Date Of Failure | 04-05 December 2025 |  |  |
| Time of Failure |  |  |  |
| Sequence of Events |  |  |  |
| - 19:30 – Production Engineer notified of water supply interruption - 19:33 – Services Engineer informed - 19:45 – Services Engineer reported pump reset (expected flow within one hour) - 21:20 – Production Engineer confirmed potable water availability with lamp-room |  |  |  |
| Investigation Findings |  |  |  |
| Other Findings: |  |  |  |
| Root Cause |  |  |  |
| Contributing Cause(s) |  |  |  |
| Corrective Actions to prevent recurrence |  | Resp. | Due Date |

| Compiled by |  | Signature |  | Date |  |
| --- | --- | --- | --- | --- | --- |
| Engineer (2.13.3.1) |  | Signature |  | Date |  |
| Engineer (2.13.1) |  | Signature |  | Date |  |

Please attach any additional information, including Statement, Photos and Test Reports as required.